| Test Report (测试报告) | WYP |
| --- | --- |

| Model (型号) | {{ model }} | Serial number (序列号) | {{ sn }} | Supply voltage (电压) | {{ voltage }} |
| --- | --- | --- | --- | --- | --- |

|  | Observation (观察结果) |
| --- | --- |
| Laser Case and package inspection (激光器外壳及包装检查) | {{ obs_case }} |
| Mechanical damage (机械损伤) | {{ obs_mech }} |

| Damage analysis (损伤分析) | Observations (观察结果) |  |  |
| --- | --- | --- | --- |
| Electronic (电子) | {{ work_hours }} | Alarms/laser state:{{ alarms }} |  |
| TEC 1 | {{ tec1_set }} | Readback: {{ tec1_read }} | Peltier: {{ tec1_peltier }} |
| TEC 2 / SHG | {{ tec2_set }} | Readback: {{ tec2_read }} | Peltier: {{ tec2_peltier }} |
| HV module value | HV: {{ hv }} |  |  |
| Current value | I Peak = {{ current }} | Tau Pulse = {{ pulse }} |  |

Diode Power measures (二极管功率测量)

| I [A] | tao [us] | λ= | P [W] |
| --- | --- | --- | --- |
| {{ current_1 }} | {{ pulse_1 }} | {{ nm_1 }} | {{ power_1 }} |
| {{ current_2 }} | {{ pulse_2 }} | {{ nm_2 }} | {{ power_2 }} |
| {{ current_3 }} | {{ pulse_3 }} | {{ nm_3 }} | {{ power_3 }} |
| {{ current_4 }} | {{ pulse_4 }} | {{ nm_4 }} | {{ power_4 }} |
| {{ current_5 }} | {{ pulse_5 }} | {{ nm_5 }} | {{ power_5 }} |
| {{ current_6 }} | {{ pulse_6 }} | {{ nm_6 }} | {{ power_6 }} |
| {{ current_7 }} | {{ pulse_7 }} | {{ nm_7 }} | {{ power_7 }} |
| {{ current_8 }} | {{ pulse_8 }} | {{ nm_8 }} | {{ power_8 }} |
| {{ current_9 }} | {{ pulse_9 }} | {{ nm_9 }} | {{ power_9 }} |
| {{ current_10 }} | {{ pulse_10 }} | {{ nm_10 }} | {{ power_10 }} |

Output power measure (输出功率测量)

| 355nm | 532nm | 1064nm |
| --- | --- | --- |
| {{ power_355_1 }} | {{ power_532_1 }} | {{ power_1064_1 }} |
| {{ power_355_2 }} | {{ power_532_2 }} | {{ power_1064_2 }} |
| {{ power_355_3 }} | {{ power_532_3 }} | {{ power_1064_3 }} |
| {{ power_355_4 }} | {{ power_532_4 }} | {{ power_1064_4 }} |
| {{ power_355_5 }} | {{ power_532_5 }} | {{ power_1064_5 }} |
| {{ power_355_6 }} | {{ power_532_6 }} | {{ power_1064_6 }} |
| {{ power_355_7 }} | {{ power_532_7 }} | {{ power_1064_7 }} |
| {{ power_355_8 }} | {{ power_532_8 }} | {{ power_1064_8 }} |
| {{ power_355_9 }} | {{ power_532_9 }} | {{ power_1064_9 }} |
| {{ power_355_10 }} | {{ power_532_10 }} | {{ power_1064_10 }} |
| Date: {{ date }} |  |  |

| Test Report (测试报告) | WYP |
| --- | --- |

| Analysis and possible actions (分析及可能的措施) | Operator: {{ operator }} | Date: {{ date }} |
| --- | --- | --- |
| 故障描述: {{ problem }} 采取措施: {{ action }} |  |  |

|  | Repair Actions done (已执行的维修措施) | Operator | Date |
| --- | --- | --- | --- |
| 1 | {{ action_1 }} | {{ operator_1 }} | {{ date_1 }} |
| 2 | {{ action_2 }} | {{ operator_2 }} | {{ date_2 }} |
| 3 | {{ action_3 }} | {{ operator_3 }} | {{ date_3 }} |
| 4 | {{ action_4 }} | {{ operator_4 }} | {{ date_4 }} |
| 5 | {{ action_5 }} | {{ operator_5 }} | {{ date_5 }} |
| 6 | {{ action_6 }} | {{ operator_6 }} | {{ date_6 }} |
| 7 | {{ action_7 }} | {{ operator_7 }} | {{ date_7 }} |
| 8 | {{ action_8 }} | {{ operator_8 }} | {{ date_8 }} |
| 9 | {{ action_9 }} | {{ operator_9 }} | {{ date_9 }} |
| 10 | {{ action_10 }} | {{ operator_10 }} | {{ date_10 }} |

NOTES (备注)

{{ note }}